## Sheet1
Content date | Content time | Accession number | Exposure mode | Protocol | Bodypart examined | Patient orientation | View position | Operator name | Reject date | Reject time | Reject reason | Reject operator name | DAP | Absorbed Dose | Air Kerma | REX | EI | EIt | DI | kV | mA | ms | mAs | SID | SensorSN | Workspace | SOD
2021-01-13 | 18:56 |  | Rad | Chest (0-3) AP | CHEST | L\F |  | Radiographer |  |  |  |  | 28 |  |  | 105.8007 | 98.1989 | 100 | -0.078935 | 60 | 200 | 8 | 1.6 |  | 28000C27 | 35x43 Detector Gen2
2021-03-11 | 18:52 |  | Rad | Chest AP Scatter Correction 100kVp | CHEST | L\F |  | Radiographer |  |  |  |  | 228 |  |  | 717.8061 | 447.4757 | 300 | 1.7365 | 100 | 320 | 10 | 3.2 |  | 28000C27 | 35x43 Detector Gen2
2021-03-11 | 18:56 |  | Rad | AP Abdomen Scatter Correction 80kVp | ABDOMEN | L\F |  | Radiographer |  |  |  |  | 1563 |  |  | 1368.4921 | 714.9066 | 225 | 5.0207 | 80 | 320 | 40 | 12.8 |  | 28000C27 | 35x43 Detector Gen2
2021-05-24 | 10:16 |  | Rad | Chest PA | CHEST | L\F | PA | Radiographer |  |  |  |  | 121 |  |  | 291.7505 | 69.619 | 100 | -1.5727 | 100 | 250 | 14 | 3.5 | 1802 | 1B000AB6 | Vertical Bucky | 1762
2021-05-24 | 11:12 |  | Rad | Chest AP Scatter Correction 100kVp | CHEST | L\F |  | Radiographer |  |  |  |  | 84 |  |  | 258.5912 | 169.7054 | 300 | -2.4743 | 100 | 320 | 10 | 3.2 |  | 28000C27 | 35x43 Detector Gen2
2021-05-24 | 11:14 |  | Rad | Humerus AP Scatter Correction 60kVp | HUMERUS | L\F |  | Radiographer |  |  |  |  | 99 |  |  | 322.3323 | 171.0898 | 225 | -1.1896 | 60 | 320 | 20 | 6.4 |  | 28000C27 | 35x43 Detector Gen2
2021-05-24 | 11:14 |  | Rad | Humerus Lateral Scatter Correction 60kVp | HUMERUS | L\F |  | Radiographer |  |  |  |  | 159 |  |  | 74.812 | 81.6819 | 225 | -4.4006 | 60 | 320 | 32 | 10.24 |  | 28000C27 | 35x43 Detector Gen2
2021-05-24 | 11:16 |  | Rad | Elbow Lateral | ELBOW | L\F |  | Radiographer |  |  |  |  | 25 |  |  | 521.5821 | 372.2108 | 225 | 2.1861 | 63 | 320 | 6 | 1.92 |  | 28000C27 | 35x43 Detector Gen2
2021-06-06 | 18:57 |  | Rad | Finger | ARM | L\F |  | Radiographer |  |  |  |  | 1 |  |  | 138.1155 | 150.3283 | 225 | -1.7514 | 50 | 200 | 8 | 1.6 |  | 28000C27 | 35x43 Detector Gen2
2021-06-06 | 18:58 |  | Rad | Finger | ARM | L\F |  | Radiographer |  |  |  |  | 1 |  |  | 103.8846 | 109.3289 | 225 | -3.1345 | 50 | 200 | 8 | 1.6 |  | 28000C27 | 35x43 Detector Gen2
2021-06-06 | 18:58 |  | Rad | Finger | ARM | L\F |  | Radiographer |  |  |  |  | 1 |  |  | 87.105 | 99.1358 | 225 | -3.5595 | 50 | 200 | 8 | 1.6 |  | 28000C27 | 35x43 Detector Gen2
2021-10-26 | 13:19 |  | Rad | Abdomen AP Supine | ABDOMEN | L\F | AP | Radiographer |  |  |  |  | 1555 |  |  | 189.8493 | 281.6033 | 225 | 0.97455 | 80 | 800 | 22 | 17.6 |  | 1B000971 | Table Bucky
2021-10-26 | 13:20 |  | Rad | Abdomen AP Supine | ABDOMEN | L\F | AP | Radiographer |  |  |  |  | 1831 |  |  | 325.4537 | 358.3587 | 225 | 2.0214 | 80 | 800 | 32 | 25.6 |  | 1B000971 | Table Bucky
2021-10-26 | 13:27 |  | Rad | Chest PA | CHEST | L\F | PA | Radiographer |  |  |  |  | 202 |  |  | 307.9853 | 57.4406 | 100 | -2.4078 | 100 | 250 | 13 | 3.25 |  | 1B000AB6 | Vertical Bucky
2021-10-26 | 13:28 |  | Rad | Chest Lateral | CHEST | L\F |  | Radiographer |  |  |  |  | 1219 |  |  | 291.6518 | 147.4111 | 150 | -0.075611 | 110 | 500 | 36 | 18 |  | 1B000AB6 | Vertical Bucky
2021-10-26 | 13:30 |  | Rad | Knee Lateral | KNEE | L\F |  | Radiographer |  |  |  |  | 48 |  |  | 140.663 | 113.3559 | 225 | -2.9774 | 60 | 200 | 10 | 2 |  | 28000C27 | 35x43 Detector Gen2
2021-10-26 | 13:30 |  | Rad | Knee AP | KNEE | L\F |  | Radiographer |  |  |  |  | 55 |  |  | 208.2639 | 185.5708 | 225 | -0.83673 | 60 | 200 | 10 | 2 |  | 28000C27 | 35x43 Detector Gen2
2021-10-26 | 13:53 |  | Rad | Chest PA | CHEST | L\F | PA | Radiographer |  |  |  |  | 264 |  |  | 322.4931 | 119.6642 | 100 | 0.77964 | 100 | 250 | 14 | 3.5 |  | 1B000AB6 | Vertical Bucky
2021-10-26 | 13:55 |  | Rad | Pelvis AP | PELVIS | L\F |  | Radiographer | 2021-10-26 | 13:56 | ARTEFCT | Radiographer | 8066 |  |  | 583.6049 | 570.9806 | 225 | 4.0444 | 80 | 320 | 177 | 56.64 |  | 1B000971 | Table Bucky
2021-10-26 | 13:55 |  | Rad | Pelvis AP | PELVIS | L\F |  | Radiographer |  |  |  |  | 8035 |  |  | 626.2765 | 575.6385 | 225 | 4.0797 | 80 | 320 | 176 | 56.32 |  | 1B000971 | Table Bucky
2021-10-26 | 13:57 |  | Rad | Lumbar Spine AP Erect | SPINE | L\F |  | Radiographer |  |  |  |  | 3724 |  |  | 570.0372 | 337.6307 | 225 | 1.7626 | 85 | 320 | 133 | 42.56 |  | 1B000AB6 | Vertical Bucky
2021-10-26 | 13:58 |  | Rad | Lumbar Spine Lateral Erect | LSPINE | L\F |  | Radiographer |  |  |  |  | 4670 |  |  | 202.596 | 174.3626 | 225 | -1.1073 | 90 | 320 | 320 | 102.4 |  | 1B000AB6 | Vertical Bucky
2021-10-26 | 14:05 |  | Rad | Knee Lateral | KNEE | L\F |  | Radiographer | 2021-10-26 | 14:12 | Positioning Error | Radiographer | 42 |  |  | 141.8103 | 118.3759 | 225 | -2.7892 | 60 | 320 | 6 | 1.92 |  | 28000C27 | 35x43 Detector Gen2
2021-10-26 | 14:05 |  | Rad | Knee Lateral | KNEE | L\F |  | Radiographer |  |  |  |  | 42 |  |  | 125.8831 | 120.3151 | 225 | -2.7186 | 60 | 200 | 10 | 2 |  | 28000C27 | 35x43 Detector Gen2
2021-10-26 | 14:07 |  | Rad | Lower Leg AP | EXTREMITY | L\F |  | Radiographer |  |  |  |  | 7 |  |  | 138.748 | 136.6472 | 225 | -2.1658 | 70 | 320 | 2 | 0.64 |  | 28000C27 | 35x43 Detector Gen2
2021-10-26 | 14:09 |  | Rad | Lower Leg Lateral | EXTREMITY | L\F |  | Radiographer |  |  |  |  | 22 |  |  | 253.1357 | 304.615 | 225 | 1.3157 | 66 | 320 | 2 | 0.64 |  | 28000C27 | 35x43 Detector Gen2
2021-10-26 | 14:10 |  | Rad | Lower Leg Lateral | EXTREMITY | L\F |  | Radiographer |  |  |  |  | 37 |  |  | 196.2535 | 224.3069 | 225 | -0.0134 | 66 | 320 | 3 | 0.96 |  | 28000C27 | 35x43 Detector Gen2